## R410a Coil Modules
2024 Model Numbers | 2025 Model Numbers | Description
M1218CL2-E | M1218CL2-E-R | Module, Refrigerant Coil (6 Row)*(AC/HP)(Chatleff connections), for indoor coil replacement only
M1218CL2-E0C | M1218CL2-E0C-R | Module, Refrigerant Coil (6 Row)*(AC/HP), E-Coated (Chatleff connections), for indoor coil replacement only
M2430CL1-B | M2430CL1-BA-R | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, for indoor coil replacement only
M2430CL1-B0C | M2430CL1-BA-R | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, for indoor coil replacement only
M2430CL1-E | M2430CL1-E-R | Module, Refrigerant Coil (6 Row)*(AC/HP), for indoor coil replacement only
M2430CL1-E0C | M2430CL1-E0C-R | Module, Refrigerant Coil (6 Row)*(AC/HP), E-Coated, for indoor coil replacement only
M2430CR1-E | M2430CR1-E-R | Module, Refrigerant Coil, (6 Row) (AC/HP), Right hand, for indoor coil replacement only
M3036CL1-B | M3036CL1-BA-R | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, for indoor coil replacement only
M3036CL1-B0C | M3036CL1-BA-R | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, for indoor coil replacement only
M3036CL1-E | M3036CL1-E-R | Module, Refrigerant Coil (6 Row)*(AC/HP), for indoor coil replacement only
M3036CL1-E0C | M3036CL1-E0C-R | Module, Refrigerant Coil (6 Row)*(AC/HP), E-Coated, for indoor coil replacement only
M3036CR1-E | M3036CR1-E-R | Module, Refrigerant Coil, (6 Row) (AC/HP), Right hand, for indoor coil replacement only
M3036CR1-E0C | M3036CR1-E0C-R | Module, Refrigerant Coil, (6 Row) (AC/HP), Right hand, E-Coated, for indoor coil replacement only
M3642CL1-B | M3642CL1-BA-R | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, for indoor coil replacement only
M3642CL1-B0C | M3642CL1-BA-R | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, for indoor coil replacement only
M3642CL1-E | M3642CL1-E-R | Module, Refrigerant Coil (6 Row)* (AC/HP), for indoor coil replacement only
M3642CL1-E0C | M3642CL1-E0C-R | Module, Refrigerant Coil (6 Row)* (AC/HP), E-Coated, for indoor coil replacement only
M3642CR1-E | M3642CR1-E-R | Module, Refrigerant Coil, (6 Row) (AC/HP), Right hand, for indoor coil replacement only
M4860CL1-B | M4860CL1-B-R | Module, Refrigerant Coil (3 Row)* (AC/HP), for indoor coil replacement only
M4860CL1-B0C | M4860CL1-B0C-R | Module, Refrigerant Coil (3 Row)* (AC/HP), E-Coated, for indoor coil replacement only
M4860CR1-B | M4860CR1-B-R | Module, Refrigerant Coil, (4 Row) (AC/HP), Right hand, for indoor coil replacement only
M4860CR1-B0C | M4860CR1-B0C-R | Module, Refrigerant Coil (3 Row)*(AC/HP), Right hand, E-Coated, for indoor coil replacement only

## A2L Coil Modules
2024 R410 Model Numbers | 2025 R454b or R32 Model Numbers | Descriptions
M1218CL1-E0C | M1218CL2-E0C1 | Module, Refrigerant Coil (6 Row)*(AC/HP), E-Coated (Chatleff connections), A2L Compliant, TXV sold separately
M1218CL2-E | M1218CL2-E001 | Module, Refrigerant Coil (6 Row)*(AC/HP), (Chatleff connections), A2L Compliant, TXV sold separately
M2430CL1-B | M2430CL1-BA001 | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, A2L Compliant, TXV sold separately
M2430CL1-B0C | M2430CL1-BA001 | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, A2L Compliant, TXV sold separately
M2430CL1-E | M2430CL1-E001 | Module, Refrigerant Coil (6 Row)*(AC/HP), A2L Compliant, TXV sold separately
M2430CL1-E0C | M2430CL1-E0C1 | Module, Refrigerant Coil (6 Row)*(AC/HP), E-Coated, A2L Compliant, TXV sold separately
M2430CR1-E | M2430CR1-E001 | Module, Refrigerant Coil (6 Row) (AC/HP), Right hand, A2L Compliant, TXV sold separately
M2430CR1-E0C | M2430CR1-E0C1 | Module, Refrigerant Coil (6 Row)*(AC/HP), Right hand, E-Coated, A2L Compliant, TXV sold separately
M3036CL1-B | M3036CL1-BA001 | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, A2L Compliant, TXV sold separately
M3036CL1-B0C | M3036CL1-BA001 | Module, Refrigerant Coil (4 Row)*(AC/HP), Aluminum, A2L Compliant, TXV sold separately
M3036CL1-E | M3036CL1-E001 | Module, Refrigerant Coil (6 Row)*(AC/HP), A2L Compliant, TXV sold separately
M3036CL1-E0C | M3036CL1-E0C1 | Module, Refrigerant Coil (6 Row)*(AC/HP), E-Coated, A2L Compliant, TXV sold separately
M3036CR1-E | M3036CR1-E001 | Module, Refrigerant Coil (6 Row) (AC/HP), Right hand, A2L Compliant, TXV sold separately
M3036CR1-E0C | M3036CR1-E0C1 | Module, Refrigerant Coil (6 Row) (AC/HP), Right hand, E-Coated, A2L Compliant, TXV sold separately
M3642CL1-B | M3642CL1-BA001 | Module, Refrigerant Coil (4 Row)* (AC/HP), Aluminum, A2L Compliant, TXV sold separately
M3642CL1-B0C | M3642CL1-BA001 | Module, Refrigerant Coil (4 Row)* (AC/HP), Aluminum, A2L Compliant, TXV sold separately
M3642CL1-E | M3642CL1-E001 | Module, Refrigerant Coil (6 Row)* (AC/HP), A2L Compliant, TXV sold separately
M3642CL1-E0C | M3642CL1-E0C1 | Module, Refrigerant Coil (6 Row)* (AC/HP), E-Coated, A2L Compliant, TXV sold separately
M3642CR1-E | M3642CR1-E001 | Module, Refrigerant Coil (6 Row) (AC/HP), Right hand, A2L Compliant, TXV sold separately
M3642CR1-E0C | M3642CR1-E0C1 | Module, Refrigerant Coil (6 Row)* (AC/HP), Right hand, E-Coated, A2L Compliant, TXV sold separately
M4860CL1-B | M4860CL1-B001 | Module, Refrigerant Coil (3 Row)* (AC/HP), A2L Compliant, TXV sold separately
M4860CL1-B0C | M4860CL1-B0C1 | Module, Refrigerant Coil (3 Row)* (AC/HP), E-Coated, A2L Compliant, TXV sold separately
M4860CR1-B | M4860CR1-B001 | Module, Refrigerant Coil (3 Row)* (AC/HP), Right hand, A2L Compliant, TXV sold separately
M4860CR1-B0C | M4860CR1-B0C1 | Module, Refrigerant Coil (3 Row)* (AC/HP), Right hand, E-Coated, A2L Compliant, TXV sold separately

## Vertical Units
2024 Model Numbers | 2025 Model Numbers | Description
V2430B-1EC2BH | V2430B-1EC2BH01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) with HWC, A2L Compliant
V2430B-1EC2BHC | V2430B-1EC2BHC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) with HWC, E-Coated, A2L Compliant
V2430B-1EC2BX | V2430B-1EC2BX01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) NO HWC, A2L Compliant
V2430B-1EC2BXC | V2430B-1EC2BXC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) NO HWC, E-Coated, A2L Compliant
V2430B-1EC2EH | V2430B-1EC2EH01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) with HWC, A2L Compliant
V2430B-1EC2EHC | V2430B-1EC2EHC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) with HWC, E-Coated, A2L Compliant
V2430B-1EC2EX | V2430B-1EC2EX01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) NO HWC, A2L Compliant
V2430B-1EC2EXC | V2430B-1EC2EXC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) NO HWC, E-Coated, A2L Compliant
V3036B-1EC2BH | V3036B-1EC2BH01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) with HWC, A2L Compliant
V3036B-1EC2BHC | V3036B-1EC2BHC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) with HWC, E-Coated, A2L Compliant
V3036B-1EC2BX | V3036B-1EC2BX01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) NO HWC, A2L Compliant
V3036B-1EC2BXC | V3036B-1EC2BXC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) NO HWC, E-Coated, A2L Compliant
V3036B-1EC2EH | V3036B-1EC2EH01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) with HWC, A2L Compliant
V3036B-1EC2EHC | V3036B-1EC2EHC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) with HWC, E-Coated, A2L Compliant
V3036B-1EC2EX | V3036B-1EC2EX01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) NO HWC, A2L Compliant
V3036B-1EC2EXC | V3036B-1EC2EXC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) NO HWC, E-Coated, A2L Compliant
V3642B-1EC2BH | V3642B-1EC2BH01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) with HWC, A2L Compliant
V3642B-1EC2BHC | V3642B-1EC2BHC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) with HWC, E-Coated, A2L Compliant
V3642B-1EC2BX | V3642B-1EC2BX01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) NO HWC, A2L Compliant
V3642B-1EC2BXC | V3642B-1EC2BXC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC/HP) NO HWC, E-Coated, A2L Compliant
V3642B-1EC2EH | V3642B-1EC2EH01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) with HWC, A2L Compliant
V3642B-1EC2EHC | V3642B-1EC2EHC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) with HWC, E-Coated, A2L Compliant
V3642B-1EC2EX | V3642B-1EC2EX01 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) NO , A2L Compliant
V3642B-1EC2EXC | V3642B-1EC2EXC1 | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (AC/HP) NO HWC, E-Coated, A2L Compliant

## Blower Modules
2024 Model Numbers | 2025 Model Numbers | Description
M1218BL1-EC2 | M1218BL2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V (Wifi Board)
M2430BL1-EC2 | M2430BL2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V (Wifi Board)
M2430BR1-EC2 | M2430BR2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V Right hand (Wifi Board)
M3036BL1-EC2 | M3036BL2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V (Wifi Board)
M3036BR1-EC2 | M3036BR2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V Right hand (Wifi Board)
M3642BL1-EC2 | M3642BL2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V (Wifi Board)
M3642BR1-EC2 | M3642BR2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V Right hand (Wifi Board)
M4860BL1-EC2 | M4860BL2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V (Wifi Board)
M4860BR1-EC2 | M4860BR2-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V Right hand (Wifi Board)

## TXV Kits
2024 Model Numbers | 2025 Model Numbers | Description
| TXV-1T-410 | TX Valve Kit, Chatleff, R410a, 1218, for indoor coil replacement only
A02758-K01 | TXV-2T-410 | TX Valve Kit, Chatleff, R410a, 2430, for indoor coil replacement only
A02758-K02 | TXV-3T-410 | TX Valve Kit, Chatleff, R410a, 3036, for indoor coil replacement only
A02758-K03 | TXV-4T-410 | TX Valve Kit, Chatleff, R410a, 3642, for indoor coil replacement only
| TXV-5T-410 | TX Valve Kit, Chatleff, R410a, 4860, for indoor coil replacement only
| TXV-1T-454 | TX Valve Kit, Chatleff, R454b, 1218
A02758-K04 | TXV-2T-454 | TX Valve Kit, Chatleff, R454b, 2430
A02758-K05 | TXV-3T-454 | TX Valve Kit, Chatleff, R454b, 3036
A02758-K06 | TXV-4T-454 | TX Valve Kit, Chatleff, R454b, 3642
| TXV-5T-454 | TX Valve Kit, Chatleff, R454b, 4860
| TXV-1T-32 | TX Valve Kit, Chatleff, R32, 1218
A02758-K07 | TXV-2T-32 | TX Valve Kit, Chatleff, R32, 2430
A02758-K08 | TXV-3T-32 | TX Valve Kit, Chatleff, R32, 3036
A02758-K09 | TXV-4T-32 | TX Valve Kit, Chatleff, R32, 3642
| TXV-5T-32 | TX Valve Kit, Chatleff, R32, 4860

## Sound Attenuator Duct
Listed Duct (No change in Part number) | Description | SmartDuct™ 2025 Part Number | Description
UPC-26TC03-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-3.3, single length (3 ft. per box)
UPC-26TC03-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-3.3, (18 ft. per box)
UPC-26TC03R4-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-4.2, single length (3 ft. per box)
UPC-26TC03R4-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-4.2 (18 ft. per box)
UPC-26TC03R6-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-6.0, single length (3 ft. per box)
UPC-26TC03R6-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-6.0 (18 ft. per box)
UPC-26TC03R8-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-8.0, single length (3 ft. per box)
UPC-26TC03R8-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-8.0 (18 ft. per box)
UPC-26TC-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-3.3, single length (12 ft. per box) | UPC-26TCH-1 | SmartDuct, TFS, 2x12' (1 PCS)
UPC-26TC-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-3.3 (72 ft. per box) | UPC-26TCH-6 | SmartDuct, TFS, 2x12' (6 PCS)
UPC-26TCR4-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-4.2, single length (12 ft. per box) | UPC-26TCHR4-1 | SmartDuct, TFS, 2x12', R4 (1 PCS)
UPC-26TCR4-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-4.2 (72 ft. per box) | UPC-26TCHR4-6 | SmartDuct, TFS, 2x12', R4 (6 PCS)
UPC-26TCR6-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-6.0, single length (12 ft. per box) | UPC-26TCHR6-1 | SmartDuct, TFS, 2x12', R6 (1 PCS)
UPC-26TCR6-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-6.0 (72 ft. per box) | UPC-26TCHR6-6 | SmartDuct, TFS, 2x12', R6 (6 PCS)
UPC-26TCR8-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-8.0, single length (12 ft. per box) | UPC-26TCHR8-1 | SmartDuct, TFS, 2x12', R8 (1 PCS)
UPC-26TCR8-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-8.0 (72 ft. per box) | UPC-26TCHR8-6 | SmartDuct, TFS, 2x12', R8 (6 PCS)
UPC-26TD03R4-1 | Sound Attenuator Tubing, Double Vapor Barrier, TFS, Couplings Attached 2" ID x 3'L, R-4.2, single length (3 ft. per box)
UPC-26TD03R4-6 | Sound Attenuator Tubing, Double Vapor Barrier, TFS, Couplings Attached 2" ID x 3'L, R-4.2 (18 ft. per box)
UPC-26TDR4-1 | Sound Attenuator, Double Vapor Barrier, TFS, Couplings Attached, 2" ID x12'L, R-4.2, single length (12 ft. per box) | UPC-26TDHR4-1 | SmartDuct, TFS, 2x12', R4, Double Barrier (1 PCS)
UPC-26TDR4-6 | Sound Attenuator, Double Vapor Barrier, TFS, Couplings Attached, 2" ID x12'L, R-4.2 (72 ft. per box) | UPC-26TDHR4-6 | SmartDuct, TFS, 2x12', R4, Double Barrier (6 PCS)
UPC-226-5 | Sound Attenuator Tubing, 2.5" ID x 12'L R-3.3(60 ft total) | UPC-226H-5 | SmartDuct, 2.5"x12' (5 PCS)
UPC-226-R4-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-4.2 (60 ft total) | UPC-226H-R4-5 | SmartDuct, 2.5"x12', R4 (5 PCS)
UPC-226D-R4-5 | Sound Attenuator, Double Vapor Barrier, 2.5"x12' R-4.2 (5 pcs) | UPC-226DH-R4-5 | SmartDuct, 2.5"x12', R4, Double Barrier (5 PCS)
UPC-226-R6-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-6.0 (60 ft total) | UPC-226H-R6-5 | SmartDuct, 2.5"x12', R6 (5 PCS)
UPC-226-R8-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-8.0 (60 ft total) | UPC-226H-R8-5 | SmartDuct, 2.5"x12', R8 (5 PCS)